Firmware Updating Steps:

1. Unzip the downloaded folder (you may need to close this note first).

2. Open the "VCPLUS" Application.

3. Plug in the VCPlus 8 Valve device to power.

4. Turn on the power switch for the VCPlus 8 Valve device.

5. Plug in the USB Type C cable into the VCPlus 8 Valve device and into your computer.

(You can use either USB Type-C to Type-A or Type-C to Type-C to connect the VCPlus       device to the computer).

6. Press Settings>Update Firmware>Load File.

7. Search for the unzipped downloaded "VC8_5468_8C_v2.6" file and double click it.

8. Press the "Program" button and wait for the "Firmware Upgraded Sucessfully!" pop up.

9. You can now close the Firmware updating window(s).